Nest Thermostat Installation Quality Scoring System

Vendor Name: ______________

Property Name: ______________

Property Address: _____________

Checklist: _____________

Work Order ID: ____________

Dispatch Date: ______________

Technician Name: _____________

This scoring system ensures that each Nest thermostat installation is evaluated against clear quality benchmarks, recognizing areas of excellence while identifying opportunities for improvement.

- Fit and Placement (25 Points)

- Wall Plate Alignment (10 Points)

- The Nest thermostat wall plate should be installed level and flush against the wall, with wiring neatly routed through the plate.

- Yes – Perfect alignment and no visible gaps

- Needs Work – Minor misalignment or slight gaps

- No – Significant misalignment or large gaps

- Thermostat Mounting (10 points)

- The thermostat should be securely mounted on the wall plate, with no wobbling or looseness. It must be visibly straight and accessible.

- Yes - Secure and aligned installation

- Needs Work – Minor looseness or slight misalignment

- No - Poorly secured or visibly tilted

- Wall Condition (5 points)

- The wall around the thermostat should be clean and free of visible damage, such as chipped paint or holes from prior installations.

  - Yes – Pristine wall condition

  - Needs Work – Minor Imperfections

  - No – Significant damage or visible marks

- Wiring and Connectivity (30 Points)

- Wiring Quality (15 points):

- Wires must be securely connected to the correct terminals, with no exposed or frayed ends. Wire lengths should be properly trimmed to fit neatly into the wall plate.

a. Yes – Flawless wiring

b. Needs Work - Minor issues, such as slightly loose or untidy wiring

c. No - Major issues, such as incorrect connections or exposed wires

B. Wi-Fi Connectivity (10 points):

- The thermostat must connect seamlessly to the Wi-Fi network, maintaining a strong and stable signal for real-time communication with the app.

a. Yes - Seamless connectivity

b. Needs Work - Occasional interruptions or weak signal

c. No - Frequent connectivity issues or failure to connect.

C. Power Check (5 points):

- The thermostat should be powered correctly, using the C-wire or Power Connector. No low power warnings or errors should be present.

a. Yes - Stable power supply

b. Minor power concerns or warning

c. Unstable power supply or no power

- Functionality (30 Points)

- System Compatibility (10 points):

- The thermostat must be properly configured to communicate with the HVAC system and support all modes (e.g., heating, cooling, fan).

a. Yes - Fully compatible and functional system

b. Needs Work - Minor functionality issues or limited compatibility

c. No - Incompatible or major issues with functionality

- Thermostat Setup (10 points):

- The device must be fully set up via the app, including:

  - User preferences (e.g., schedules).

  - Home/Away Assist configuration.

  - Firmware updates.

  - Integration with smart home systems like Google Assistant.

a. Yes - Fully configured system

b. Needs Work - Minor setup issues or missing features

c. Incomplete or failed setup

- Temperature Accuracy (10 points):

- The thermostat should provide accurate room temperature readings and respond quickly to adjustments.

a. Yes - Highly accurate and responsive system

b. Needs Work - Minor delays or slight inaccuracies

c. No - Significant inaccuracies or slow response times

- User Experience and Aesthetics (15 Points)

- Ease of Use (10 points):

- The interface (dial and display) must function smoothly, with an intuitive design that allows users to adjust or access data easily through the device or app.

a. Yes - Flawless user experience

b. Needs Work - Minor usability challenges

c. No - Complex or malfunctioning interface

- Aesthetic Integration (5 points):

- The thermostat must complement the surrounding décor, with the wall plate and device appearing well-integrated into the space.

a. Yes - Perfect integration

b. Needs Work - Slight mismatch with décor

c. No - Poorly integrated or out of place

Scoring Summary:

- 90–100 Points (Exceptional Installation):

The installation meets the highest standards, with no flaws in functionality, aesthetics, or usability.

- 80–89 Points (Strong Installation):

A solid installation with only minor issues that do not impact overall performance.

- 70–79 Points (Adequate Installation):

An installation that is functional but has noticeable areas for improvement.

- 60–69 Points (Subpar Installation):

The installation needs adjustments, with deficiencies affecting usability or performance.

- Below 60 Points (Poor Installation):

The installation fails to meet acceptable standards and requires significant rework.